Acute Non-Invasive Ventilation & Home Mechanical Ventilation

Practical Course Programme

Wednesday 22 June 2022

Manchester Conference Centre

2 x half-day practical sessions

08:30 to 12:40	Morning Group

13:30 to 17:10	Afternoon Group

| Time Morning Group | Time Afternoon Group | Focus of session | Description |
| --- | --- | --- | --- |
| 08:30 – 09:00 | 12:40 - 13:30 | N/A | Registration |
| 09:00 - 09:10 | 13:30 - 13:40 | Brief overview | All delegates to attend in large group then break off |
| The following groups will rotate every 45 minutes |  |  |  |
| Focus of Session |  | Description |  |
| - Overview of NIV device |  | Plug, interface, modes, 02 connector, humidification Navigating your way round the device. |  |
| - Interface troubleshooting |  | Optimising mask fit; mask options; identifying interface issues using obs, vent, overnight pulse ox, etc |  |
| - Optimising settings (pressure, time, flow) |  | Quick re-cap of physiology of settings for NIV, use of AG’s to discuss changes, using vent parameters/obs to determine setting alterations, etc |  |
| - Troubleshooting sputum retention/bronchospasm, etc |  | How to identify from vent waveform analysis, obs, etc; vent settings alterations, identify when to initiate PT Rx, etc |  |
| 10:40 – 11:10 | 15:10 – 15:40 | BREAK |  |
| 12:40 – 13:30 |  | LUNCH FOR ALL |  |