Acute Non-Invasive Ventilation & Home Mechanical Ventilation

Practical Course Programme

Wednesday 21 June 2023

Manchester Conference Centre

2 x half-day practical sessions

Morning Group	- 08:30 to 12:50					Afternoon Group - 13:40 to 17:30

| Time Morning Group | Time Afternoon Group | Focus of session | Description |
| --- | --- | --- | --- |
| 08:30 – 09:00 | 12:50 - 13:40 | N/A | Registration |
| 09:00 - 09:10 | 13:40 - 13:50 | Brief overview Dr Michael Davies, Dr Alanna Hare, Mrs Alison Armstrong & Mrs Ema Swingwood | All delegates to attend in large group then break off |
| 12:50 – 13:40 | 17:20 – 17:30 | Round up & summary | All delegates will come back together |
| The following groups will rotate every 45 minutes |  |  |  |
| Focus of Session |  | Description |  |
| - Overview of NIV device |  | Plug, interface, modes, 02 connector, humidification Navigating your way round the device. |  |
| - Interface troubleshooting |  | Optimising mask fit; mask options; identifying interface issues using obs, vent, overnight pulse ox, etc |  |
| - Optimising settings (pressure, time, flow) |  | Quick re-cap of physiology of settings for NIV, use of AG’s to discuss changes, using vent parameters/obs to determine setting alterations, etc |  |
| - Troubleshooting patients and vents |  | This station provides delegates the opportunity to combine learning into a hands-on, simulation based, clinical scenario. We will explore problems with sputum retention, bronchospasm and asynchrony, alongside the roles of the wider MDT |  |
| 10:40 – 11:10 | 15:20 – 15:50 | BREAK |  |
| 12:50 – 13:40 |  | LUNCH FOR ALL |  |